# Comprehensive Parameters – Script & GUI

This table lists all adjustable or significant parameters present in the script, including GUI controls, calibration settings, preprocessing constants, segmentation/detection thresholds, and summary/visualization settings. Ranges show either user-facing limits or fixed values used in code.

| Parameter | Meaning in the script | Range / Value |
| --- | --- | --- |
| Expected crystal diameter (µm) | Controls LoG blob size search for crystal detection on PL images; mapped to min_sigma/max_sigma/num_sigma via _sigma_range_from_expected_d_um. | 0.5 – 50.0 µm (default 4.0 µm) |
| Crystal detection sensitivity | Threshold parameter for blob_log; lower → more detections (↑FP), higher → fewer (↑FN). | 0.005 – 0.08 (default 0.02) |
| Cell split aggressiveness (µm) | Converted to pixels (min_distance) for peak_local_max seeding before watershed; higher → more splitting of touching cells. | 0.5 – 20.0 µm (default 3.0 µm) |
| Cell mask threshold bias | Multiplicative bias applied to chosen threshold (Otsu/Li/IsoData) in _auto_threshold_with_bias; <1.0 more permissive, >1.0 more conservative. | 0.80 – 1.20 (default 1.00) |
| Known distance (µm) | Real-world distance used for calibration (from scale map or user input). | User input; typical 10, 20, 40, 50, 100, 200 µm |
| Distance in pixels | Pixel length corresponding to the known distance; used to compute pixel_to_um = known_um / distance_px. | User input; must be > 0 |
| pixel_to_um (µm per pixel) | Computed from calibration; used throughout (area in µm², σ→µm, split distance, etc.). | Derived (positive real number) |
| CLAHE (equalize_adapthist) for BF & PL | Adaptive histogram equalization to enhance contrast before thresholding/detection. | Library defaults (clip limit/kernel default) |
| Bilateral filter (BF & PL) | Denoising while preserving edges; applied to 8-bit images prior to thresholding or blob detection. | d=9, sigmaColor=75, sigmaSpace=75 |
| Crop margin (scale bar masking) | Bottom-right region excluded before BF thresholding to avoid false detections on scale bar. | Height: 1.5% of image; Width: 2.5% of image |
| Primary threshold method | Otsu; if implausible mask fraction, fallback to Li and IsoData and pick closest to target fraction. | Otsu → Li → IsoData (auto) |
| Mask plausibility band | Acceptable foreground fraction for BF mask to avoid empty/full masks. | 2% – 60% |
| Target foreground fraction | If Otsu implausible, choose method whose foreground fraction is closest to this target. | ≈ 25% |
| remove_small_objects (min_size) | Remove tiny components from BF mask before labeling. | 1600 pixels |
| remove_small_holes (area_threshold) | Fill small holes in BF mask. | 10,000 pixels |
| opening (morphology) | Clean up mask with morphological opening (library default structuring element). | Default |
| Segmentation area histogram bins | Bins for histogram of labeled region areas (saved PNG). | 20 bins |
| Region splitting criterion (Pipelines 1 & 2) | Regions with area ≥ (min_area + std_area) are candidates for watershed splitting. | average = min_area + std_area |
| Region splitting criterion (Pipeline 3) | Regions with area ≥ min_area are candidates for watershed splitting (as per original function). | average = min_area |
| Watershed seeding min_distance (px) | Computed from Cell split aggressiveness: max(1, round(split_um / pixel_to_um)). | Derived from GUI control |
| min_sigma/max_sigma/num_sigma | Computed from expected diameter via σ ≈ d/(2√2); search band [0.4σ, 1.6σ] with num_sigma=5. | Derived; num_sigma = 5 |
| blob_log threshold | Sensitivity to accept blobs as crystals. | GUI control (0.005 – 0.08; default 0.02) |
| Crystal radius & diameter formulas | r_px ≈ √2·σ, d_px ≈ 2√2·σ; d_µm = d_px * pixel_to_um; area_µm² = π·(r_px*pixel_to_um)². | Formulas (no fixed range) |
| Resize for overlap | Binary masks resized to fixed canvas for overlap computation. | 2048 × 2048, INTER_AREA |
| Overlap computation | Logical AND between resized BF cell mask and PL crystal mask. | Binary AND |
| Scale bar mask on overlap | Additional bottom-right region zeroed to suppress artifacts in overlap map. | Rows: last 80 px; Cols: last 1350 px (after resize) |
| BF/PL intensity histogram bins | Bins for pixel intensity histograms. | 256 bins, range [0, 255] |
| Minimum cell area (analysis) | Filter labeled BF regions by area in µm² before counting/summarizing. | 20.0 µm² |
| Percentage of cells with crystals | Computed per image, then averaged by day with std. | Derived metric |
| Percentage of area crystals/cells | Total crystal area divided by total cell area, per image, then averaged by day with std. | Derived metric |
| Annotation font | cv2.putText font/size/thickness for labels on images. | FONT_HERSHEY_SIMPLEX, scale=0.5, thickness=1 |
| Annotation colors | Colors used for labels/rectangles in annotated images. | Text: (0,0,255); Rectangles: (0,255,0) |
| Scale map defaults | Initial known µm values offered for calibration. | 10, 20, 40, 50, 100, 200 |
| Protected scales (non-deletable) | Preset scale entries that cannot be removed via GUI. | 10, 20, 40, 50, 100, 200 |
| Output ZIP filename | Archive name for exported images. | All_Images_histograms.zip |
| Plot export | Grouped summaries and plots saved per pipeline. | Plot.png, Plot.xlsx |